## Slide 1: A Presentation on White light InterferometrY
Presented by-
Neha Gour
Banasthali University

## Slide 2: Contents
Interference
White light interferometry
Typical interferometer setup
Applications
Limitations
References

## Slide 4: Interference
Interference is the process in which two waves are superimposed to form a resultant wave greater, equal or less amplitude.
necessary condition of interference
monochromatic
coherent

## Slide 6: White light interferometry
White light interferometer widely used technique for surface height measurement on 3D structure with surface profile varying between a range .

## Slide 7: Typical interferometer

## Slide 9: Applications
Surface profiling
Noise due to spurious interference fringes is avoided
Biomedical application
Precisely define the correct focus
Thin film fabrication

## Slide 10: Limitations
Requirement of dispersion compensation
Imaging capability is limited .

## Slide 11: References
[1] James C. Wyant ” White Light Interferometry” Optical Sciences Center, University of Arizona, Tucson, AZ 85721
[2] ajoy ghatak “ optics”